# FS4.2 RHOMBOS  |  Attachment/hook system

| Pos............................ ..............................m² Pos............................ Pos............................ .............................running metre Pos............................ .............................running metre | Delivery and installation of durlum expanded metal panels of the FS4.2 RHOMBOS V1 system. A frame is butt welded onto the cut-to-size expanded metal panels. By this, precisely fitting parts are produced that are hung in a positive-locking and tension-free way into a special substructure [see separate position]. Tool-free dismounting is guaranteed. Tolerances and quality requirements apply according to TAIM, DIN EN 13964 and durlum standard. Material: electrolytically galvanised steel Variant: V1 (surface-welded frame) Mesh M260_1.5 Mesh length: 28 mm Mesh width: 12 mm Web width: 2.0 mm Web thickness: 1.5 mm Exp. metal thickness: approx. 3.6 mm Surface: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Layer thickness: approx. 60 µm Sound absorption: with a special durlum acoustic fleece and support Colour: black Dimension: Length ............... mm Width ............... mm € / m2 Set-up costs depending on format, design and call-off € Delivery and installation of a durlum FS4.2 RHOMBOS substructure consisting of hook-on carriers U 1005 A which are mounted in longitudinal direction of the corridor. The hook-on carriers are suspended either with perforated L-shaped primary carriers U 1040 mounted transversely to the corridor as cross bracing and with the help of vernier scale lower and upper parts or with threaded rods instead of L-shaped primary carriers and vernier scale upper and lower parts suspended from the bare ceiling or attached with wall brackets U 1042 using officially approved dowels to ensure a rigid suspension. The spacing of the suspension points depends on the requirements of DIN EN 13964 and the statics of the system and must be proven and established by the contractor. Ensure horizontal and flush alignment during installation. Screw connections must be secured against loosening. The system is able to compensate spacings of 10-40 mm to the corridor walls. Only constructions may be used that have been approved by the manufacturer of the expanded metal panels. All parts are made of galvanised sheet steel. €/running metre Delivery and installation of durlum covering support brackets AW 2560 to cover the joints between the rectangular metal panel and the corridor walls and as support brackets for U 1000 A. The perimeter trims must be adapted on site to the joint widths and attached with dowels above the rectangular metal panels on the corridor walls. The system is able to compensate spacings of 20-40 mm to the corridor walls. Material: galvanised sheet steel or brushed stainless steel Material thickness: according to static requirements Surface: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) €/running metre |
| --- | --- |