# S7 KS RHOMBOS  |  Rail channel system, hinged/movable

| Pos............................ ..............................m2 Pos............................ Pos............................ ..............................m2 Pos............................ .............................running metre | Delivery and installation of durlum expanded metal panels of the S7 KS RHOMBOS V1 system. A frame is butt welded onto the cut-to-size expanded metal panels. By this, precisely fitting parts are produced that are hung in a positive-locking and tension-free way into a special substructure [see separate position]. For unhinging, disengage the panels, lower them and hook into the hinged hooks mounted additionally on the front sides, then unhinge. The unhinged expanded metal panels can easily be pushed together as bundles. Tool-free dismounting is guaranteed. Tolerances and quality requirements apply according to TAIM, DIN EN 13964 and durlum standard. Material: electrolytically galvanised steel Variant: V1 (surface-welded frame) Mesh M260_1.5 Mesh length: 28 mm Mesh width: 12 mm Web width: 2.0 mm Web thickness: 1.5 mm Exp. metal thickness: approx. 3.6 mm Surface finish: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Layer thickness: approx. 60 µm Sound absorption: with a special durlum acoustic fleece and support Colour: black Dimension: Length ............... mm Width ............... mm € / m2 Set-up costs depending on format, design and call-up. € Delivery and installation of a durlum S7 KS RHOMOBS substructure consisting of a perforated L-shaped primary carrier U 1040 as cross-bracing (primary profile) which is suspended from the bare ceiling with the help of vernier scale upper and lower parts or with threaded rods using officially approved dowels to ensure a rigid suspension. The primary profiles must be connected [screwed] to one another using longitudinal connectors U 1041 at the longitudinal joint. The distance between the primary profiles has to be defined according to DIN EN 13964 and the installation manual and must be proven and established by the contractor. The rail channels made of aluminium are screwed as longitudinal profiles (secondary profiles) to the primary profiles using screws M6 [secured against loosening]. The longitudinal connection of the secondary profiles is performed using rail channel connectors. The connection to walls is done with the help of wall brackets U 1042. The spacing of the secondary profiles is to be adjusted precisely to the length of the expanded metal panels to ensure tension-free suspension of the panels in the system. Ensure horizontal and flush alignment during installation. Only constructions may be used that have been approved by the manufacturer of the expanded metal panels. All parts are made of galvanised steel sheet or aluminium. Suface finish of the rail channels: Natural aluminium, optionally painted to RAL ............... colour coating thickness: approx. 60 µm Suspension height: ........... mm. € / m2 Only constructions may be used that have been approved by the manufacturer of the expanded metal panels. All parts are made of galvanised steel sheet or aluminium. Surface finish of the rail channels: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Layer thickness: approx. 70 µm €/m2 Delivery and installation of durlum wall connection profiles made of aluminium. Material thickness: 1.5 mm Surface: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Profile form: according to durlum F 025 perimeter trim without shadow gap 25/25 mm or according to durlum F 2025 with stepped perimeter trim 25/20/20/25 mm €/running metre |
| --- | --- |