# S7-RHOMBOS TAIFUN | Rail channel system

| Pos............................ ..............................m2 Pos............................ Pos............................ ..............................m2 Pos............................ .............................running metre Pos............................ .............................running metre | Delivery and installation of durlum expanded metal panels of the S7-RHOMBOS-TAIFUN V1 system. A frame is butt welded onto the cut-to-size expanded metal panels. By this, exact fitting parts are produced. The expanded metal panels are hung in a positive locking and tension-free way into a special substructure [see separate position], then secured with a special concealed ball impact-resistant feature. Tolerances and quality requirement according to the durlum standard. Ball impact resistant version according to DIN 18032-3: April 1997; DIN EN 13964: February 2007, shock resistance according to table D.1, class 1A Material: electrolytically galvanised steel Variant: V1 (surface-welded frame) Mesh M260_1.5 Mesh length: 28 mm Mesh width: 12 mm Web width: 2.0 mm Web thickness: 1.5 mm Exp. metal thickness: approx. 3.6 mm Surface: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Layer thickness: approx. 60 µm Sound absorption: with a special durlum acoustic fleece and support Colour: black Dimension: Length ............... mm Width ............... mm € / m2 Set-up costs depending on format, design and call-up. € Delivery and installation of a durlum S7-RHOMBOS substructure system consisting of a perforated L-shaped primary carrier U 1040 as cross-bracing (primary profile) which is suspended from the bare ceiling with the help of vernier scale upper and lower parts or with threaded rods using officially approved dowels in order to ensure a rigid suspension. The primary profiles must be connected [screwed] to one another using longitudinal connectors U 1041 at the longitudinal joint. The distance between the primary profiles has to be defined according to DIN EN 13964 and the mounting instructions and must be proven and established by the contractor. The rail channels made of steel are screwed as longitudinal profiles (secondary profiles) to the primary profiles using screws M6 [secured against loosening]. The longitudinal connection of the rail channels is performed using rail channel connectors. The connection to walls is performed via wall brackets U 1042. The spacing of the rail channels is to be adjusted precisely to the length of the expanded metal panels to ensure tension-free suspension of the panels in the system. Ensure horizontal and flush alignment during installation. Only construction parts may be used that have been approved by the manufacturer of the expanded metal panels. All parts are made of galvanised sheet steel. Surface of the rail channels: steel, optionally painted to RAL ........ Layer thickness: approx. 60 µm Suspension height: ........... mm. € / m2 Delivery and installation of durlum wall connection profiles made of steel. Surface: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Profile form: G profile € / running metre Delivery and installation of durlum wall connection profiles made of steel. Surface: Powder-coated similar to RAL9006-079 smooth and shiny (alternative RAL......) Profile form: U profile € / running metre |
| --- | --- |