# WS4 WALL CLADDINGS | Attachment/hook-on system

|  |  |
| --- | --- |
| Pos ..........Pos ..........Pos ..........Pos ..........Pos ..........Pos ..........Pos .......... | **Delivery and installation of durlum wall panels of the WS4 wall cladding system**The wall panels are hung into a special substructure [see separate position] in a positive-locking and tension-free way. Tool-free dismounting is guaranteed.Tolerances and quality requirements apply according to TAIM, DIN EN 13964 and durlum standard.Material: galvanised sheet steelMaterial thickness: 1.00mmSurface: powdercoated in RAL colour .......... (optionally e.g. durlum RAL 9016 matt DUROPLAN type 1) Layer thickness: approx. 60 µmPerforation: type .......... (optionally e.g. durlum type RG-L15)Sound absorption: with a special durlum acoustic fleece (black, optionally e.g. in white)Panel design: rectangularPanel orientation: verticalNote: The wall panels are provided ex works with suspension profiles on the rear side. All corners are riveted ex works. No on-site installation of load-bearing parts, which must be permanently connected to the wall panel, is necessary. Installation height: 50mm (WS4 wall panels + WS4 substructure)Recommended panel surface: max. 2.25m²Dimensions:Height: .......... mm [max. 3000 mm]Width: .......... mm [max. 1250 mm]Quantity: .......... Unit: m²Unit price: .......... [EUR/m²]Total price: .......... [EUR] **Set-up costs of wall panel depending on format, design and call-off 1 - 10 pieces per position**Quantity: .......... Unit: pieceUnit price: .......... [EUR/position: wall panel]Total price: .......... [EUR]**Set-up costs of wall panel depending on format, design and call-off 11 - 250 pieces per position**Quantity: .......... Unit: pieceUnit price: .......... [EUR/position: wall panel]Total price: .......... [EUR]**Set-up costs of wall panel depending on format, design and call-off over 250 pieces per position**Quantity: .......... Unit: pieceUnit price: .......... [EUR/position: wall panel]Total price: .......... [EUR]**Delivery and installation of a durlum substructure of the WS4 wall cladding system**The substructure consists of WS4 1100 wall Z-profiles in which the wall panels are inserted in a positive-locking and tension-free manner and which are fastened to the load-bearing ground using officially approved fastening equipment that has been selected in accordance with the local project specific requirements and fastened professionally. The distance between the WS4 1100 wall Z-profiles, used as load-bearing profiles for the wall panels, has to be defined according to the installation manual and must be proven and established by the contractor. When doing so, it must be ensured that the distance between the WS4 1100 wall Z-profiles corresponds exactly to the distance between the suspension profiles that are fitted ex works to the rear side of the wall panels, so that the wall panels can be suspended in a positive-locking and tension-free way.Ensure horizontal and flush alignment during the installation of the WS4 1100 wall Z-profiles. After installing the WS4 1100 wall Z-profiles, the WS0 100 decouplers supplied loose must be attached to them on-site. Quantity, arrangement and distance of the WS0 100 decouplers depend on the specifications in the installation manual. Only construction parts may be used that have been approved by the manufacturer of the wall claddings. All load-bearing parts must be made of galvanised steel sheet.Quantity: .......... Unit: m²Unit price: .......... [EUR/m²]Total price: .......... [EUR]**Optional position****Delivery and installation of a durlum base profile of the WS4 wall cladding system**The WS0 200 base profile is used as lower end piece for the wall cladding.Material: galvanised sheet steelMaterial thickness: 1.00mmSurface: powdercoated in RAL colour .......... (optionally e.g. durlum RAL 9016 matt DUROPLAN type 1)Layer thickness: approx. 60 µmProfile shape: 10/65/10/25mmLength: 3000mmQuantity: .......... Unit: mUnit price: .......... [EUR/m]Total price: .......... [EUR]**Set-up costs of base profile depending on format, design and call-off**Quantity: .......... Unit: pieceUnit price: .......... [EUR/position: base profile]Total price: .......... [EUR]**Optional position****Delivery and installation of a durlum end profile of the WS4 wall cladding system**The WS0 300 end profile can be used as lower, upper or lateral end piece for the wall cladding.Material: galvanised sheet steelMaterial thickness: 1.00mmSurface: powdercoated in RAL colour .......... (optionally e.g. durlum RAL 9016 matt DUROPLAN type 1)Layer thickness: approx. 60 µmProfile shape: 50/50mmLength: 3000mmQuantity: .......... Unit: mUnit price: .......... [EUR/m]Total price: .......... [EUR]**Set-up costs of end profile depending on format, design and call-off**Quantity: .......... Unit: pieceUnit price: .......... [EUR/position: end profile]Total price: .......... [EUR] |
|  |  |